## CAPMAP 2014
Legend
Virtual and physical points
| V | Designates a virtual interconnection point.
| P | Identifies a physical point which has been virtualised. Capacities at this point are commercialised at the virtual point
Data Reference Date
Reference date is 1st of January 2014. The data are based on the GRIP 2014-2022 data collection.
ENTSOG Transmission Capacity Map
Capacity map data (Lesser-of rule)
|  | Location | Identifier 1 | System Operator 1 | CC | BZ |  | Identifier 2 | System Operator 2 | CC | BZ | Technical physical capacity GWh/d | Assumed GCV for conversion in Mio Nm3/d ( kWh/Nm3, reference combustion temperature 25C) |  | Available flow directions |  | Remarks
Num |  | Filter by Location | Filter | Filter by System Operator 1 |  |  |  | Filter | Filter by System Operator 2 |  |  |  | Min | Max | TSO1 | TSO2
Cross-border IP within EU and with non-EU (export)
1 |  | Zeebrugge IZT | 21Z0000000000074 | Fluxys Belgium | BE | H-Zone | > | 21Z0000000000074 | Interconnector | UK | IUK | 807.6 | 11.63 | 11.63 | B
|  | Zeebrugge IZT | 21Z0000000000074 | Interconnector | UK | IUK | > | 21Z0000000000074 | Fluxys Belgium | BE | H-Zone | 630.1 | 11.63 | 11.63 | B
2 |  | Zelzate | 21Z000000000019Y | Fluxys Belgium | BE | H-Zone | > | 21Z000000000019Y | Gasunie Transport Services | NL | Netherlands | 189.84 | 11.1 | 11.8 | B
|  | Zelzate | 21Z000000000019Y | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000019Y | Fluxys Belgium | BE | H-Zone | 303.8001 | 10.8 | 12.8 | B
|  | Zelzate (Zebra Pijpleiding) | 21Z0000000000171 | Fluxys Belgium | BE | H-Zone | > |  | Zebra Pijpleiding | NL | Netherlands | 149.16 | 11.63 | 11.63 | Y | -
3 |  | Zandvliet H-gas | 21Z0000000001062 | Gasunie Transport Services | NL | Netherlands | > | 21Z0000000001062 | Fluxys Belgium | BE | H-Zone | 27.9484 | 11.63 | 11.63 | N | Y
4 | V | Poppel (BE) // Hilvarenbeek/Zandvliet-L (NL) |  | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000067N | Fluxys Belgium | BE | L-Zone | 590.856 | 8.9 | 10.8 | N | Y
5 | V | s Gravenvoeren Dilsen (BE) // 's Gravenvoeren/Obbicht (NL) | 21Z000000000169F | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000169F | Fluxys Belgium | BE | H-Zone | 222.5748 | 11.63 | 11.63 | - | Y
6 |  | Eynatten 1 (BE) // Lichtenbusch / Raeren (DE) | 21Z0000000000155 | Fluxys Belgium | BE | H-Zone | > | 21Z0000000000155 | GASCADE Gastransport | DE | GASPOOL | 129.5 | 11.63 | 11.63 | B
|  | Eynatten 1 (BE) // Lichtenbusch / Raeren (DE) | 21Z0000000000155 | GASCADE Gastransport | DE | GASPOOL | > | 21Z0000000000155 | Fluxys Belgium | BE | H-Zone | 157.7 | 11.63 | 11.63 | B
|  | Eynatten 2 (BE) // Lichtenbusch / Raeren (DE) | 21Y---A001A022-0 | Fluxys Belgium | BE | H-Zone | > | 21Z000000000174M | Fluxys TENP | DE | NCG | 162.72 | 11.63 | 11.63 | B
|  | Eynatten 2 (BE) // Lichtenbusch / Raeren (DE) | 21Y---A001A022-0 | Fluxys Belgium | BE | H-Zone | > | 21Z0000000000163 | Open Grid Europe | DE | NCG | 162.72 | 11.63 | 11.63 | B
|  | Eynatten 2 (BE) // Lichtenbusch / Raeren (DE) | 21Y---A001A022-0 | Fluxys Belgium | BE | H-Zone | > | 21Z000000000147P | Thyssengas | DE | NCG | 162.72 | 10.6 | 11.63 | B | N
|  | Eynatten 2 (BE) // Lichtenbusch / Raeren (DE) | 21Z000000000174M | Fluxys TENP | DE | NCG | > | 21Y---A001A022-0 | Fluxys Belgium | BE | H-Zone | 341.504 | 11.63 | 11.63 | B
|  | Eynatten 2 (BE) // Lichtenbusch / Raeren (DE) | 21Z0000000000163 | Open Grid Europe | DE | NCG | > | 21Y---A001A022-0 | Fluxys Belgium | BE | H-Zone | 341.504 | 11.63 | 11.63 | B
|  | Eynatten 2 (BE) // Lichtenbusch / Raeren (DE) | 21Z000000000147P | Thyssengas | DE | NCG | > | 21Y---A001A022-0 | Fluxys Belgium | BE | H-Zone | 341.504 | 11.63 | 11.63 | Y | B
7 | V | Bras/Petange | 21Z0000000001070 | Fluxys Belgium | BE | H-Zone | > | PEB | Creos Luxembourg | LU | Luxemburg | 37.9 | 11.63 | 11.63 | Y | N
8 |  | Remich | 21Z0000000000406 | Open Grid Europe | DE | NCG | > | PEA | Creos Luxembourg | LU | Luxemburg | 38.7 | 11.4 | 11.4 | Y
9 |  | Blaregnies (BE) / Taisnières (H) (FR) (Segeo/Troll) | 21Z000000000012B | Fluxys Belgium | BE | H-Zone | > | 21Y---A001A008-R | GRTgaz | FR | North | 640 | 11.4 | 11.63 | B | Y
|  | Blaregnies (BE) / Taisnières (H) (FR) (Segeo/Troll) | 21Z000000000010F | Fluxys Belgium | BE | H-Zone | > | 21Y---A001A008-R | GRTgaz | FR | North | 640 | 11.4 | 11.63 | Y
10 |  | Blaregnies (BE) / Taisnières (L) (FR) | 21Z000000000011D | Fluxys Belgium | BE | L-Zone | > | 21Z000000000011D | GRTgaz | FR | North | 230 | 9.77 | 9.9 | Y | N
11 |  | Bocholtz | 21Y---A001A024-V | Gasunie Transport Services | NL | Netherlands | > | 21Z0000000002042 | Fluxys TENP | DE | NCG | 441.8897 | 10.9 | 12.3 | Y
|  | Bocholtz | 21Y---A001A024-V | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000071W | Open Grid Europe | DE | NCG | 441.8897 | 10.9 | 12.3 | Y
|  | Bocholtz-Vetschau | 21Z000000000170U | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000170U | Thyssengas | DE | NCG | 12.4392 | 10.6 | 10.6 | Y
12 |  | Zevenaar | 21Z000000000072U | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000072U | Open Grid Europe | DE | NCG | 487.1832 | 8.9 | 10.8 | Y
|  | Zevenaar | 21Z000000000072U | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000072U | Thyssengas | DE | NCG | 487.1832 | 8.9 | 10.8 | Y
13 |  | Winterswijk | 21Z000000000073S | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000073S | Open Grid Europe | DE | NCG | 197.1 | 8.9 | 10.8 | Y
14 |  | Vlieghuis | 21Z000000000135W | Gasunie Transport Services | NL | Netherlands | > |  | RWE | DE | GASPOOL | 47.8529 | 10.8 | 12.5 | Y | N
|  | Vlieghuis (NL) / Kalle (DE) (RWE) |  | RWE Dea Speicher | DE |  | > | 21W000000000004F | Gasunie Transport Services | NL | Netherlands | 28.1 | 0 | 0 | B
|  | Vlieghuis (NL) / Kalle (DE) (RWE) | 21W000000000004F | Gasunie Transport Services | NL | Netherlands | > |  | RWE Dea Speicher | DE |  | 8.4 | 0 | 0 | B
15 |  | Epe (DE) (Eneco) / Enschede (NL) |  | Eneco | DE |  | > |  | Gasunie Transport Services | NL | Netherlands | 93.79 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Epe (DE) (Eneco) / Enschede (NL) |  | Gasunie Transport Services | NL | Netherlands | > |  | Eneco | DE |  | 46.89 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Epe (DE) (Essent) / Enschede (NL) |  | Essent | DE |  | > | 21W000000000003H | Gasunie Transport Services | NL | Netherlands | 93.79 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Epe (DE) (Essent) / Enschede (NL) | 21W000000000003H | Gasunie Transport Services | NL | Netherlands | > |  | Essent | DE |  | 46.89 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Epe (DE) (Nuon) / Enschede (NL) |  | Nuon | DE |  | > | 21W000000000005D | Gasunie Transport Services | NL | Netherlands | 117.23 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Epe (DE) (Nuon) / Enschede (NL) | 21W000000000005D | Gasunie Transport Services | NL | Netherlands | > |  | Nuon | DE |  | 84.41 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
16 |  | Bunde (DE) / Oude Statenzijl (H) (NL) (GASCADE) | 21Z000000000074Q | GASCADE Gastransport | DE | GASPOOL | > | 21Z000000000074Q | Gasunie Transport Services | NL | Netherlands | 132.567 | 11 | 12.2 | Y
|  | Bunde (DE) / Oude Statenzijl (H) (NL) (GUD) | 21Z000000000076M | Gasunie Deutschland Transport Services | DE | GASPOOL | > | 21Z000000000076M | Gasunie Transport Services | NL | Netherlands | 42.14 | 11 | 12.2 | B
|  | Bunde (DE) / Oude Statenzijl (H) (NL) (GUD) | 21Z000000000076M | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000076M | Gasunie Deutschland Transport Services | DE | GASPOOL | 70.79 | 10.8 | 12.4 | B
|  | Bunde (DE) / Oude Statenzijl (H) (NL) I (OGE) | 21Z000000000075O | Open Grid Europe | DE | NCG | > | 21Z000000000075O | Gasunie Transport Services | NL | Netherlands | 163 | 11 | 12.2 | B
|  | Bunde (DE) / Oude Statenzijl (H) (NL) I (OGE) | 21Z000000000075O | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000075O | Open Grid Europe | DE | NCG | 71.4655 | 10.8 | 12.4 | B
|  | Bunde (DE) / Oude Statenzijl (L) (NL) (GTG Nord) | 21Z000000000079G | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000079G | Gastransport Nord | DE | GASPOOL | 76.18 | 8.9 | 10.8 | N
|  | Bunde (DE) / Oude Statenzijl (L) (NL) (GUD) | 21Z000000000078I | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000078I | Gasunie Deutschland Transport Services | DE | GASPOOL | 170.88 | 8.9 | 10.8 | N
|  | Etzel (DE) Crystal / Oude Statenzijl (NL) |  | Crystal | DE |  | > | 21W000000000013E | Gasunie Transport Services | NL | Netherlands | 139.3103 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Etzel (DE) Crystal / Oude Statenzijl (NL) | 21W000000000013E | Gasunie Transport Services | NL | Netherlands | > |  | Crystal | DE |  | 197.658 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Etzel (DE) EKB / Oude Statenzijl Etzel (NL) |  | EKB | DE |  | > | 21W0000000000095 | Gasunie Transport Services | NL | Netherlands | 206.2001 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Etzel (DE) EKB / Oude Statenzijl Etzel (NL) | 21W0000000000095 | Gasunie Transport Services | NL | Netherlands | > |  | EKB | DE |  | 209.9094 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Etzel (DE) Freya / Oude Statenzijl Etzel |  | EGS | DE |  | > | 21W000000000014C | Gasunie Transport Services | NL | Netherlands | 80.0571 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Etzel (DE) Freya / Oude Statenzijl Etzel | 21W000000000014C | Gasunie Transport Services | NL | Netherlands | > |  | EGS | DE |  | 182.0079 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Nüttermoor (DE) (EWE) H / Oude Statenzijl (H) (NL) |  | EWE Gasspeicher | DE |  | > | 21Z000000000250W | Gasunie Transport Services | NL | Netherlands | 37.9937 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Nüttermoor (DE) (EWE) H / Oude Statenzijl (H) (NL) | 21Z000000000250W | Gasunie Transport Services | NL | Netherlands | > |  | EWE Gasspeicher | DE |  | 69.5869 | 0 | 0 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Nüttermoor Gas Storage (DE) / Oude Statenzijl (NL) Renato |  | EGS | DE |  | > | 21Z000000000077K | Gasunie Transport Services | NL | Netherlands | 141.5577 | 11 | 12.2 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
|  | Nüttermoor Gas Storage (DE) / Oude Statenzijl (NL) Renato | 21Z000000000077K | Gasunie Transport Services | NL | Netherlands | > |  | EGS | DE |  | 121.4608 | 10.8 | 10.8 | B |  | Interconnection points between German storages and GTS.The capacities indicated do not allow to enter the German transmission systems.
17 |  | Julianadorp (GTS) /Balgzand (BBL) | 21Z000000000087H | Gasunie Transport Services | NL | Netherlands | > |  | BBL company | NL | Netherlands | 574.4433 | 11 | 11 | Y
18 |  | Bacton (IUK) | 21Z000000000084N | Interconnector | UK | IUK | > | 21Z000000000083N | National Grid Gas | UK | UK | 807.6 | 11 | 11 | B
|  | Bacton (IUK) | 21Z000000000083N | National Grid Gas | UK | UK | > | 21Z000000000084N | Interconnector | UK | IUK | 624 | 11 | 11 | B
|  | Bacton BBL |  | BBL company | NL | Netherlands | > | 21Z000000000088F | National Grid Gas | UK | UK | 494 | 11 | 11 | Y
19 |  | Moffat | 21Z000000000081T | National Grid Gas | UK | UK | > | 21Z000000000081T | Gaslink | IE | Ireland | 342 | 11 | 11.05 | Y
20 |  | Twynholm |  | BGE (UK) | UK | UK | > | PTL Moffat/Twynholm | Premier Transmission Ltd | UK | NI | 89 | 0 | 0 | N | -
21 |  | Oberkappel | 21Y---A001A012-4 | BOG | AT | Austria | > | 21Z000000000161V | GRTgaz Deutschland | DE | NCG | 159.92 | 0 | 0 | B
|  | Oberkappel | 21Y---A001A012-4 | BOG | AT | Austria | > | 21Z000000000001G | Open Grid Europe | DE | NCG | 159.92 | 0 | 0 | B
|  | Oberkappel | 21Z000000000161V | GRTgaz Deutschland | DE | NCG | > | 21Y---A001A012-4 | BOG | AT | Austria | 199.47 | 0 | 0 | B
|  | Oberkappel | 21Z000000000001G | Open Grid Europe | DE | NCG | > | 21Y---A001A012-4 | BOG | AT | Austria | 199.47 | 0 | 0 | B
22 |  | Obergailbach (FR) / Medelsheim (DE) | 21Z0000000001208 | GRTgaz Deutschland | DE | NCG | > | 21Z000000000039S | GRTgaz | FR | North | 567.43 | 11.2 | 11.2 | Y
|  | Obergailbach (FR) / Medelsheim (DE) | 21Z000000000039S | Open Grid Europe | DE | NCG | > | 21Z000000000039S | GRTgaz | FR | North | 567.43 | 11.2 | 11.2 | Y
23 |  | Überackern ABG (AT) / Burghausen (DE) (1) | 21Z000000000002E | Gas Connect Austria | AT | Austria | > | 21Z000000000002E | bayernets | DE | NCG | 54.3 | 11.188 | 11.188 | - | Y
|  | Überackern ABG (AT) / Burghausen (DE) (1) | 21Z000000000002E | Gas Connect Austria | AT | Austria | > | 21Z000000000002E | Open Grid Europe | DE | NCG | 54.3 | 0 | 0 | -
|  | Überackern SUDAL (AT) / Burghausen (DE) (2) | 21Z0000000001240 | Gas Connect Austria | AT | Austria | > | 21Z0000000001240 | bayernets | DE | NCG | 230.1 | 11.189 | 11.189 | B
|  | Überackern SUDAL (AT) / Burghausen (DE) (2) | 21Z0000000001240 | bayernets | DE | NCG | > | 21Z0000000001240 | Gas Connect Austria | AT | Austria | 117.8 | 11.189 | 11.189 | B
24 |  | Kiefersfelden-Kufstein | 21Z000000000038U | Open Grid Europe | DE | NCG | > |  | TIGAS | AT | Austria | 0 | 0 | 0 | -
25 |  | Murfeld (AT) / Ceršak (SI) | 21Z0000000000058 | Gas Connect Austria | AT | Austria | > | 21Z0000000000058 | Plinovodi | SI | Slovenia | 103 | 11.17 | 11.19 | B | Y
26 |  | Tarvisio (IT) / Arnoldstein (AT) | 21Z000000000004A | TAG | AT | Austria | > | 21Z000000000004A | Snam Rete Gas | IT | Italy | 1140.3 | 10.7 | 11.19 | B
|  | Tarvisio (IT) / Arnoldstein (AT) | 21Z000000000004A | Snam Rete Gas | IT | Italy | > | 21Z000000000004A | TAG | AT | Austria | 191.8 | 10.7 | 11.19 | B
27 |  | Griespass (CH) / Passo Gries (IT) |  | FluxSwiss | CH | Switzerland | > | 21Y---A001A021-3 | Snam Rete Gas | IT | Italy | 627.2 | 10.6 | 10.6 | Y
|  | Griespass (CH) / Passo Gries (IT) |  | Swissgas | CH | Switzerland | > | 21Y---A001A021-3 | Snam Rete Gas | IT | Italy | 627.2 | 10.6 | 10.6 | B | Y
28 |  | Wallbach | 21Z0000000001216 | Fluxys TENP | DE | NCG | > |  | FluxSwiss | CH | Switzerland | 582.7058 | 0 | 0 | Y
|  | Wallbach | 21Z0000000001216 | Fluxys TENP | DE | NCG | > |  | Swissgas | CH | Switzerland | 582.7058 | 0 | 0 | Y
|  | Wallbach | 21Z0000000001232 | Open Grid Europe | DE | NCG | > |  | FluxSwiss | CH | Switzerland | 582.7058 | 0 | 0 | Y
|  | Wallbach | 21Z0000000001232 | Open Grid Europe | DE | NCG | > |  | Swissgas | CH | Switzerland | 582.7058 | 0 | 0 | Y
29 |  | Gorizia (IT) /Šempeter (SI) | 21Z000000000044Z | Snam Rete Gas | IT | Italy | > | 21Z000000000044Z | Plinovodi | SI | Slovenia | 28 | 10.7 | 11.17 | B | Y
30 |  | Rogatec | 21Z000000000128T | Plinovodi | SI | Slovenia | > | 21Z000000000128T | Plinacro Ltd | HR | Croatia | 53 | 11.17 | 11.17 | Y | N
31 |  | Oltingue (FR) / Rodersdorf (CH) | 21Z000000000037W | GRTgaz | FR | North | > |  | FluxSwiss | CH | Switzerland | 223 | 11.4 | 11.4 | Y
|  | Oltingue (FR) / Rodersdorf (CH) | 21Z000000000037W | GRTgaz | FR | North | > |  | Swissgas | CH | Switzerland | 223 | 11.4 | 11.4 | Y
32 |  | Larrau | 21Z000000000036Y | Enagás | ES | Spain | > | 21Z000000000036Y | TIGF | FR | TIGF | 165 | 11.5 | 11.5 | B |  | Capacity at these points will be commercially marketed at a single FR-ES virtual Point from October 2014
|  | Larrau | 21Z000000000036Y | TIGF | FR | TIGF | > | 21Z000000000036Y | Enagás | ES | Spain | 165 | 11.5 | 11.5 | B |  | Capacity at these points will be commercially marketed at a single FR-ES virtual Point from October 2014
33 |  | Biriatou (FR) / Irun (ES) | 21Z0000000001410 | Enagás | ES | Spain | > | 21Z0000000001410 | TIGF | FR | TIGF | 5 | 11.5 | 11.5 | B |  | ES>FR : 9 GWh/d from April to October. FR>ES : 10 GWh/d from April to October. Capacity at these points will be commercially marketed at a single FR-ES virtual Point from October 2014.
36 |  | Ellund | 21Z000000000144V | Gasunie Deutschland Transport Services | DE | GASPOOL | > | 21Y---A001A002-8 | Energinet.dk | DK | Denmark | 10.59 | 0 | 0 | B
|  | Ellund | 21Z0000000000260 | Open Grid Europe | DE | NCG | > | 21Y---A001A002-8 | Energinet.dk | DK | Denmark | 10.59 | 0 | 0 | B
|  | Ellund | 21Y---A001A002-8 | Energinet.dk | DK | Denmark | > | 21Z000000000144V | Gasunie Deutschland Transport Services | DE | GASPOOL | 32.68 | 0 | 0 | B
|  | Ellund | 21Y---A001A002-8 | Energinet.dk | DK | Denmark | > | 21Z0000000000260 | Open Grid Europe | DE | NCG | 32.68 | 0 | 0 | B
37 |  | Dragør | 21Z000000000027Z | Energinet.dk | DK | Denmark | > |  | Swedegas AB | SE | Sweden | 73.3 | 0 | 0 | Y
38 |  | Mallnow | 21Z000000000056S | GASCADE Gastransport | DE | GASPOOL | > | 21Z000000000056S | GAZ-SYSTEM (ISO) | PL | YAMAL | 70 | 0 | 0 | N
|  | Mallnow | 21Z000000000056S | GAZ-SYSTEM (ISO) | PL | YAMAL | > | 21Z000000000056S | GASCADE Gastransport | DE | GASPOOL | 931.05 | 11.079 | 11.079 | Y
39 |  | Lasów | 21Z000000000057Q | ONTRAS | DE | GASPOOL | > | 21Z000000000057Q | GAZ-SYSTEM | PL | Poland | 48.168 | 11.15 | 11.15 | Y | N
40 |  | Brandov (CZ) / Stegal (DE) | 21Z000000000091Q | NET4GAS | CZ | Czech | > | 21Z000000000091Q | GASCADE Gastransport | DE | GASPOOL | 20.8 | 11.2 | 11.2 | N
|  | Olbernhau (DE) / Hora Svaté Kateřiny (CZ) | 21Z000000000092O | GASCADE Gastransport | DE | GASPOOL | > | 21Z000000000092O | NET4GAS | CZ | Czech | 319.7 | 11.1 | 11.1 | N
41 |  | Hora Svaté Kateřiny (CZ) / Deutschneudorf (Sayda) (DE) | 21Z0000000000228 | NET4GAS | CZ | Czech | > | 21Z0000000000228 | ONTRAS | DE | GASPOOL | 197.5297 | 11.1 | 11.1 | B
|  | Hora Svaté Kateřiny (CZ) / Deutschneudorf (Sayda) (DE) | 21Z0000000000228 | ONTRAS | DE | GASPOOL | > | 21Z0000000000228 | NET4GAS | CZ | Czech | 77.5275 | 11.1 | 11.1 | B
42 |  | Opal (DE)/Brandov Opal (CZ) |  | LBTG | DE | GASPOOL | > | 21Z000000000242V | NET4GAS | CZ | Czech | 951.9 | 11.2 | 11.2 | N | Y
|  | Opal (DE)/Brandov Opal (CZ) | 27ZG007P0000062W | OPAL Gastransport | DE | GASPOOL | > | 21Z000000000242V | NET4GAS | CZ | Czech | 951.9 | 11.2 | 11.2 | N | Y
43 |  | Waidhaus | 21Y---A001A015-W | NET4GAS | CZ | Czech | > | 21Z000000000162T | GRTgaz Deutschland | DE | NCG | 903.7 | 11.2 | 11.2 | B | Y | No firm capacity is offered to exit from DE side, on CZ side an entry capacity of 450 GWh/d is available.
|  | Waidhaus | 21Y---A001A015-W | NET4GAS | CZ | Czech | > | 21Z0000000000236 | Open Grid Europe | DE | NCG | 903.7 | 11.2 | 11.2 | B | Y | No firm capacity is offered to exit from DE side, on CZ side an entry capacity of 450 GWh/d is available.
44 |  | Cieszyn (PL) / Český Těšín (CZ) | 21Z000000000239K | NET4GAS | CZ | Czech | > | 21Z000000000239K | GAZ-SYSTEM | PL | Poland | 28.03 | 11.2 | 11.23 | N |  | CZ>PL: 4,3 GWh/d from May to September
45 |  | Lanžhot | 21Z000000000061Z | NET4GAS | CZ | Czech | > | 21Z000000000061Z | eustream | SK | Slovakia | 696 | 11.1615 | 11.2 | B
|  | Lanžhot | 21Z000000000061Z | eustream | SK | Slovakia | > | 21Z000000000061Z | NET4GAS | CZ | Czech | 530 | 11.1615 | 11.2 | B
46 |  | Baumgarten | 21Z000000000163R | BOG | AT | Austria | > | 21Y---A001A023-Y | eustream | SK | Slovakia | 248 | 11.1615 | 11.1615 | B
|  | Baumgarten | 21Z000000000175K | Gas Connect Austria | AT | Austria | > | 21Y---A001A023-Y | eustream | SK | Slovakia | 248 | 11.1615 | 11.19 | N | B
|  | Baumgarten | 21Z0000000000600 | Gas Connect Austria | AT | Austria | > | 21Y---A001A023-Y | eustream | SK | Slovakia | 248 | 11.1615 | 11.1615 | Y | B
|  | Baumgarten | 21Z000000000164P | TAG | AT | Austria | > | 21Y---A001A023-Y | eustream | SK | Slovakia | 248 | 11.1615 | 11.1615 | N | B
|  | Baumgarten | 21Y---A001A023-Y | eustream | SK | Slovakia | > | 21Z000000000163R | BOG | AT | Austria | 1612 | 11.1615 | 11.1615 | B
|  | Baumgarten | 21Y---A001A023-Y | eustream | SK | Slovakia | > | 21Z0000000000600 | Gas Connect Austria | AT | Austria | 1612 | 11.1615 | 11.19 | B | Y
|  | Baumgarten | 21Y---A001A023-Y | eustream | SK | Slovakia | > | 21Z000000000164P | TAG | AT | Austria | 1612 | 11.1615 | 11.19 | B | N
47 |  | Mosonmagyarovar | 21Z000000000003C | Gas Connect Austria | AT | Austria | > | 21Z000000000003C | FGSZ | HU | Hungary | 129.2 | 11.19 | 11.23 | Y
48 |  | Kiskundorozsma | 21Z000000000154S | FGSZ | HU | Hungary | > |  | Srbijagas | RS |  | 140.27 | 11.21 | 11.21 | N | -
49 |  | Zvornik |  | Srbijagas | RS |  | > |  | BH Gas | BA |  | 18 | 0 | 0 | N | -
50 |  | Kyustendil (BG) / Zidilovo (MK) | 21Z000000000137S | Bulgartransgaz | BG | GTNTT | > |  | GA-MA - Skopje | MK |  | 20.4 | 9.23 | 11.22 | N | -
51 |  | Kulata (BG) / Sidirokastron (GR) | 21Z000000000020C | Bulgartransgaz | BG | GTNTT | > | 21Z000000000020C | DESFA | GR | Greece | 108 | 11.22 | 11.3 | Y | N
52 |  | Srtandszha (BG) / Malkoclar (TR) | 21Z000000000157M | Bulgartransgaz | BG | GTNTT | > |  | Botas | TR |  | 468 | 11.22 | 11.22 | N | -
53 |  | Negru Voda I (RO) / Kardam (BG) | 21Z000000000159I | Bulgartransgaz | BG | NGTS | > | 21Z000000000159I | Transgaz | RO | TBP | 132 | 0 | 0 | N
|  | Negru Voda I (RO) / Kardam (BG) | 21Z000000000159I | Transgaz | RO | TBP | > | 21Z000000000159I | Bulgartransgaz | BG | NGTS | 151 | 11.185 | 11.21 | N
|  | Negru Voda II, III (RO) / Kardam (BG) | 21Z0000000003030 | Transgaz | RO | TBP | > | 21Z000000000160X | Bulgartransgaz | BG | GTNTT | 602 | 11.22 | 11.22 | N | Y | On BG side, only one aggregate point Negru Voda II & III. On RO side, two separate points Negru Voda II and Negru Voda III.
|  | Negru Voda II, III (RO) / Kardam (BG) | 21Z0000000003022 | Transgaz | RO | TBP | > | 21Z000000000160X | Bulgartransgaz | BG | GTNTT | 602 | 11.185 | 11.22 | N | Y | On BG side, only one aggregate point Negru Voda II & III. On RO side, two separate points Negru Voda II and Negru Voda III.
54 |  | Karksi |  | Latvijas Gaze | LV | Latvia | > |  | Vörguteenus | EE | Estonia | 70 | 11.17 | 11.3 | B | N
55 |  | Kiemenai |  | Amber Grid | LT | Lithuania | > |  | Latvijas Gaze | LV | Latvia | 62 | 11.1 | 11.1 | B
|  | Kiemenai |  | Latvijas Gaze | LV | Latvia | > |  | Amber Grid | LT | Lithuania | 62 | 11.1 | 11.1 | B
56 |  | Sakiai |  | Amber Grid | LT | Lithuania | > |  | Gazprom | RU |  | 109 | 11.1 | 11.1 | N | -
57 |  | Csanadpalota | 21Z000000000236Q | FGSZ | HU | Hungary | > | 21Z000000000236Q | Transgaz | RO | Romania | 51 | 11.186 | 11.27 | Y
|  | Csanadpalota | 21Z000000000236Q | Transgaz | RO | Romania | > | 39WKECSANAD1IIN2 | FGSZ | HU | Hungary | 2.56 | 11.25 | 11.25 | Y
58 |  | Dravaszerdahely | 21Z000000000249H | FGSZ | HU | Hungary | > |  | Plinacro Ltd | HR | Croatia | 76 | 11.22 | 11.22 | Y
59 |  | Dolni Bojanovice (CZ) / Brodské (SK) |  | SPP Storage | CZ |  | > |  | eustream | SK | Slovakia | 0 | 0 | 0 | B |  | Capacity is offered with the aggregated capacity of the Domestic Point.
|  | Dolni Bojanovice (CZ) / Brodské (SK) |  | eustream | SK | Slovakia | > |  | SPP Storage | CZ |  | 0 | 0 | 0 | B |  | Capacity is offered with the aggregated capacity of the Domestic Point.
60 |  | Láb (SK) / Láb IV (AT) |  | Gas Connect Austria | AT | Austria | > |  | POZAGAS | SK |  | 175 | 0 | 0 | B
|  | Láb (SK) / Láb IV (AT) |  | POZAGAS | SK |  | > |  | Gas Connect Austria | AT | Austria | 175 | 0 | 0 | B
61 |  | Haiming 2 7F / Haiming 2-7F (bayernets) |  | EGS | AT |  | > | 7FIELDS-BN | bayernets | DE | NCG | 0 | 11.219 | 11.219 | B
|  | Haiming 2 7F / Haiming 2-7F (bayernets) |  | RAG | AT |  | > | 7FIELDS-BN | bayernets | DE | NCG | 0 | 11.219 | 11.219 | B
|  | Haiming 2 7F / Haiming 2-7F (bayernets) | 7FIELDS-BN | bayernets | DE | NCG | > |  | EGS | AT |  | 0 | 11.219 | 11.219 | B
|  | Haiming 2 7F / Haiming 2-7F (bayernets) | 7FIELDS-BN | bayernets | DE | NCG | > |  | RAG | AT |  | 0 | 11.219 | 11.219 | B
|  | Haiming 2 7F / Haiming 2-7F (OGE) |  | EGS | AT |  | > | 21Z000000000272M | Open Grid Europe | DE | NCG | 0 | 0 | 0 | B
|  | Haiming 2 7F / Haiming 2-7F (OGE) | 21Z000000000272M | Open Grid Europe | DE | NCG | > |  | EGS | AT |  | 0 | 0 | 0 | B
62 |  | Haidach (AT) / Haidach USP (DE) |  | astora | AT |  | > | 21Z000000000125Z | bayernets | DE | NCG | 276.2 | 11.198 | 11.198 | B
|  | Haidach (AT) / Haidach USP (DE) |  | Gazprom Germania | AT |  | > | 21Z000000000125Z | bayernets | DE | NCG | 276.2 | 11.198 | 11.198 | B
|  | Haidach (AT) / Haidach USP (DE) | 21Z000000000125Z | bayernets | DE | NCG | > |  | astora | AT |  | 293 | 11.198 | 11.198 | B
|  | Haidach (AT) / Haidach USP (DE) | 21Z000000000125Z | bayernets | DE | NCG | > |  | Gazprom Germania | AT |  | 293 | 11.198 | 11.198 | B
63 |  | Haanrade | 21Z000000000240Z | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000240Z | Thyssengas | DE | NCG | 4.9241 | 9.8 | 9.8 | N
64 |  | Ruse (BG) / Giurgiu (RO) |  | Bulgartransgaz | BG | NGTS | > |  | Transgaz | RO | Romania | 46.38 | 0 | 0 | B
|  | Ruse (BG) / Giurgiu (RO) |  | Transgaz | RO | Romania | > |  | Bulgartransgaz | BG | NGTS | 28.38 | 0 | 0 | B
65 |  | Hermanowice | 21Z000000000266H | GAZ-SYSTEM | PL | Poland | > |  | Ukrtransgaz | UA |  | 45.29 | 11.3 | 11.3 | -
66 |  | Bizzarone | 21Z000000000277C | Snam Rete Gas | IT | Italy | > |  |  | CH | Switzerland | 12.8 | 10.7 | 10.7 | -
67 | V | VIP-ES-PT |  | Enagás | ES | Spain | > | 21Z000000000282J | REN - Gasodutos | PT | Portugal | 164 | 0 | 0 | B |  | Enagas>REN : 174 (from May 2014 to September 2014) / 144 GWh/d (from October 2014 to December 2014). REN>Enagas : 95 (from May 2014 to September 2014) / 80 GWh/d (from October 2014 to December 2014)
| V | VIP-ES-PT | 21Z000000000282J | REN - Gasodutos | PT | Portugal | > |  | Enagás | ES | Spain | 60 | 0 | 0 | B |  | Enagas>REN : 174 (from May 2014 to September 2014) / 144 GWh/d (from October 2014 to December 2014). REN>Enagas : 95 (from May 2014 to September 2014) / 80 GWh/d (from October 2014 to December 2014)
68 |  | Jura | 21Z0000000000031 | GRTgaz | FR | South | > |  | Gaznat | CH | Switzerland | 0 | 0 | 0 | -
69 | V | VIP Kiefersfelden-Pfronten | 21Z0000000002895 | bayernets | DE | NCG | > |  |  | AT | Austria | 23.2 | 11.2 | 11.2 | N | -
70 |  | Tegelen | 21Z000000000117Y | Open Grid Europe | DE | NCG | > |  | Gasunie Transport Services | NL | Netherlands | 0 | 0 | 0 | Y
|  | Tegelen | 21Z000000000117Y | Gasunie Transport Services | NL | Netherlands | > | 21Z000000000117Y | Open Grid Europe | DE | NCG | 0 | 0 | 0 | Y
Intra-Balancing Zone Point
100 |  | Nybro |  | DONG | DK | Denmark | > | 21Z0000000000252 | Energinet.dk | DK | Denmark | 396 | 0 | 0 | N
103 |  | Kienbaum | 37Z000000001078I | GASCADE Gastransport | DE | GASPOOL | > | 37Z000000001078I | Open Grid Europe | DE | NCG | 66.6 | 0 | 0 | Y
104 |  | Broichweiden Süd | 37Z000000004913W | GASCADE Gastransport | DE | GASPOOL | > | 37Z000000004913W | Thyssengas | DE | NCG | 10.8576 | 10.6 | 10.6 | Y
105 |  | Lampertheim IV | 37Z000000001442N | GASCADE Gastransport | DE | GASPOOL | > | 37Z000000001442N | terranets bw | DE | NCG | 64.8 | 0 | 0 | Y
106 |  | Reckrod | 37Z000000004923T | Open Grid Europe | DE | NCG | > | 37Z000000004923T | GASCADE Gastransport | DE | GASPOOL | 2.18 | 0 | 0 | Y
107 |  | Bunder-Tief | 37Z000000005000Z | Gasunie Deutschland Transport Services | DE | GASPOOL | > | 37Z000000006390S | Open Grid Europe | DE | NCG | 5.08 | 0 | 0 | Y
108 |  | Drohne GUD / OGE | 37Z000000006388F | Gasunie Deutschland Transport Services | DE | GASPOOL | > | 37Z000000006388F | Open Grid Europe | DE | NCG | 46.3 | 0 | 0 | Y
109 |  | Emsbüren-Berge | 37Z000000004972G | Gasunie Deutschland Transport Services | DE | GASPOOL | > | 37Z000000004972G | Thyssengas | DE | NCG | 0 | 11.17 | 11.17 | Y
|  | Emsbüren-Berge | 37Z000000004972G | Thyssengas | DE | NCG | > | 37Z000000004972G | Gasunie Deutschland Transport Services | DE | GASPOOL | 0 | 0 | 0 | Y
110 |  | Emsbüren RG (L-gas) | 37Z000000006391Q | Gasunie Deutschland Transport Services | DE | GASPOOL | > | 37Z000000006391Q | Open Grid Europe | DE | NCG | 68.9 | 0 | 0 | Y
112 |  | Nordlohne | 37Z000000005008J | Gasunie Deutschland Transport Services | DE | GASPOOL | > | 37Z000000005008J | Open Grid Europe | DE | NCG | 2.41 | 0 | 0 | Y
113 |  | Steinitz | 21Z000000000237O | ONTRAS | DE | GASPOOL | > | 21Z000000000237O | Open Grid Europe | DE | NCG | 66.6 | 0 | 0 | B
|  | Steinitz | 21Z000000000237O | Open Grid Europe | DE | NCG | > | 21Z000000000237O | ONTRAS | DE | GASPOOL | 34.41 | 0 | 0 | B
114 |  | Liaison Nord Sud |  | GRTgaz | FR | North | > | 21Z000000000166L | GRTgaz | FR | South | 270 | 0 | 0 | B
|  | Liaison Nord Sud | 21Z000000000165L | GRTgaz | FR | South | > |  | GRTgaz | FR | North | 230 | 0 | 0 | B
115 |  | PIR MIDI | 21Z000000000165N | GRTgaz | FR | South | > | 21Y---A001A007-U | TIGF | FR | TIGF | 395 | 11.5 | 11.6 | B |  | 510 GWh/d in both directions from April to October.
|  | PIR MIDI | 21Y---A001A007-U | TIGF | FR | TIGF | > | 21Z000000000165N | GRTgaz | FR | South | 255 | 11.5 | 11.6 | B |  | 510 GWh/d in both directions from April to October.
116 |  | Wardenburg RG | 37Z000000006389D | Gasunie Deutschland Transport Services | DE | GASPOOL | > | 37Z000000006389D | Open Grid Europe | DE | NCG | 0 | 0 | 0 | Y
|  | Wardenburg RG | 37Z000000006389D | Open Grid Europe | DE | NCG | > | 37Z000000006389D | Gasunie Deutschland Transport Services | DE | GASPOOL | 0 | 0 | 0 | Y
117 |  | Ahlten | 37Z000000006231B | Nowega | DE | GASPOOL | > | 37Z000000006231B | Open Grid Europe | DE | NCG | 0 | 0 | 0 | Y
|  | Ahlten | 37Z000000006231B | Open Grid Europe | DE | NCG | > | 37Z000000006231B | Nowega | DE | GASPOOL | 0 | 0 | 0 | Y
118 |  | Lampertheim I | 37Z0000000007905 | GASCADE Gastransport | DE | GASPOOL | > | 37Z0000000007905 | Open Grid Europe | DE | NCG | 0 | 0 | 0 | Y
|  | Lampertheim I | 37Z0000000007905 | Open Grid Europe | DE | NCG | > | 37Z0000000007905 | GASCADE Gastransport | DE | GASPOOL | 0 | 0 | 0 | Y
119 |  | Gernsheim |  | GASCADE Gastransport | DE | GASPOOL | > | 37Z000000006481P | GRTgaz Deutschland | DE | NCG | 106.6 | 0 | 0 | Y
120 |  | Rep. San Marino | 21Z000000000276E | Snam Rete Gas | IT | Italy | > |  |  | SM |  | 5.3 | 10.6 | 10.6 | -
123 |  | SRG Delivery to other transmission networks | RICONSEGNATO | Snam Rete Gas | IT | Italy | > |  | Società Gasdotti Italia | IT |  | 0 | 0 | 0 | -
124 |  | GMS Ihtiman |  | Bulgartransgaz | BG | GTNTT | > |  | Bulgartransgaz | BG | NGTS | 32 | 0 | 0 | B
|  | GMS Ihtiman |  | Bulgartransgaz | BG | NGTS | > |  | Bulgartransgaz | BG | GTNTT | 32 | 0 | 0 | B
125 | V | Point of Interconnection (PWP) (PL) | 800034 | GAZ-SYSTEM (ISO) | PL | YAMAL | > | 172434 | GAZ-SYSTEM | PL | Poland | 159.536 | 11.079 | 11.15 | Y
Cross-border IP with non-EU (import)
200 |  | St. Fergus (Vesterled) & Tampen Link |  | Gassco | NO |  | > | 21YSF-EC-------Q | National Grid Gas | UK | UK | 671 | 11 | 11 | N
201 |  | Dornum |  | Gassco | NO |  | > | 21Z000000000053Y | Gasunie Deutschland Transport Services | DE | GASPOOL | 755.5556 | 0 | 0 | - | Y
|  | Dornum |  | Gassco | NO |  | > | 21Z000000000053Y | jordgas Transport | DE | NCG | 755.5556 | 11.5 | 11.5 | - | Y
|  | Dornum |  | Gassco | NO |  | > | 21Z000000000053Y | Open Grid Europe | DE | NCG | 755.5556 | 0 | 0 | - | Y
202 |  | Emden (EPT1) |  | Gassco | NO |  | > | 21Z0000000000511 | Gasunie Deutschland Transport Services | DE | GASPOOL | 633.3333 | 0 | 0 | - | Y
|  | Emden (EPT1) |  | Gassco | NO |  | > | 21Z0000000000503 | Open Grid Europe | DE | NCG | 633.3333 | 0 | 0 | - | Y
|  | Emden (EPT1) |  | Gassco | NO |  | > | 21Z000000000145T | Thyssengas | DE | NCG | 633.3333 | 11.17 | 11.17 | - | Y
|  | Emden (EPT1) |  | Gassco | NO |  | > | 21Z000000000055U | Gasunie Transport Services | NL | Netherlands | 633.3333 | 11.5 | 12.1 | - | Y
203 |  | Emden (NPT) |  | Gassco | NO |  | > | 21Z000000000049P | Gasunie Deutschland Transport Services | DE | GASPOOL | 355.5556 | 0 | 0 | - | Y
|  | Emden (NPT) |  | Gassco | NO |  | > | 21Z000000000048R | Open Grid Europe | DE | NCG | 355.5556 | 0 | 0 | - | Y
|  | Emden (NPT) |  | Gassco | NO |  | > | 21Z000000000146R | Thyssengas | DE | NCG | 355.5556 | 11.17 | 11.17 | - | Y
|  | Emden (NPT) |  | Gassco | NO |  | > | 21Z000000000054W | Gasunie Transport Services | NL | Netherlands | 355.5556 | 11.7 | 12.2 | - | Y
204 |  | Zeebrugge ZPT |  | Gassco | NO |  | > | 21Z000000000046V | Fluxys Belgium | BE | H-Zone | 464.4444 | 11.63 | 11.63 | N | Y
205 |  | Dunkerque |  | Gassco | NO |  | > | 21Z000000000047T | GRTgaz | FR | North | 570 | 11.4 | 11.4 | N
206 |  | Easington |  | Gassco | NO |  | > | 21YEA-EC-------9 | National Grid Gas | UK | UK | 770 | 11 | 11 | N
207 |  | Tarifa |  | EMPL | DZ |  | > | 21Z000000000045X | Enagás | ES | Spain | 444 | 11.63 | 11.63 | N
208 |  | Almería |  | Medgaz | DZ |  | > | 21Z0000000002131 | Enagás | ES | Spain | 266 | 12.15 | 12.15 | N
209 |  | Mazara del Vallo |  | TPMC | DZ |  | > | 21Z000000000080V | Snam Rete Gas | IT | Italy | 1093.1 | 11 | 11 | N
210 |  | Gela |  | Green Stream | LY |  | > | 21Z000000000149L | Snam Rete Gas | IT | Italy | 350 | 11.1 | 11.1 | N
211 |  | Imatra |  | Gazprom | RU |  | > | 21Z000000000059M | Gasum Oy | FI | Finland | 249 | 11.0833 | 11.0833 | - | N
212 |  | Korneti |  | Latvijas Gaze | LV | Latvia | > |  | Gazprom | RU |  | 120 | 0 | 0 | B | -
|  | Korneti |  | Gazprom | RU |  | > |  | Latvijas Gaze | LV | Latvia | 200 | 0 | 0 | - | B
213 |  | Kotlovka |  | Gazprom Transgaz Belarus | BY |  | > |  | Amber Grid | LT | Lithuania | 323 | 11.1 | 11.1 | N
214 |  | Tieterowka |  | Gazprom Transgaz Belarus | BY |  | > | 21Z0000000001321 | GAZ-SYSTEM | PL | Poland | 7.3 | 11.27 | 11.27 | N
215 |  | Kondratki |  | Gazprom Transgaz Belarus | BY |  | > | 21Z0000000000066 | GAZ-SYSTEM (ISO) | PL | YAMAL | 1024.28 | 11.079 | 11.079 | N
216 |  | Wysokoje |  | Gazprom Transgaz Belarus | BY |  | > | 21Z000000000136U | GAZ-SYSTEM | PL | Poland | 169.05 | 11.27 | 11.27 | N
217 |  | Drozdovichi (UA) -Drozdowicze (PL) |  | Ukrtransgaz | UA |  | > | 21Z000000000143X | GAZ-SYSTEM | PL | Poland | 135.6 | 11.3 | 11.3 | N
218 |  | Uzhgorod (UA) - Velké Kapušany (SK) |  | Ukrtransgaz | UA |  | > | 21Z000000000085L | eustream | SK | Slovakia | 2288 | 11.1615 | 11.1615 | N | B
219 |  | Beregdaróc (HU) - Beregovo (UA) |  | Ukrtransgaz | UA |  | > | 21Z000000000139O | FGSZ | HU | Hungary | 598.8 | 11.22 | 11.22 | - | N
220 |  | Mediesu Aurit (RO) - Tekovo (UA) |  | Ukrtransgaz | UA |  | > | 21Z000000000158K | Transgaz | RO | Romania | 113 | 11.171 | 11.171 | N
221 |  | Isaccea (RO) - Orlovka (UA) |  | Ukrtransgaz | UA |  | > | 21Z000000000151Y | Transgaz | RO | Romania | 398 | 11.173 | 11.173 | N
|  | Isaccea (RO) - Orlovka (UA) I |  | Ukrtransgaz | UA |  | > | 21Z000000000304Z | Transgaz | RO | TBP | 753 | 11.187 | 11.187 | N
|  | Isaccea (RO) - Orlovka (UA) II |  | Ukrtransgaz | UA |  | > | 21Z000000000305X | Transgaz | RO | TBP | 0 | 0 | 0 | -
|  | Isaccea (RO) - Orlovka (UA) III |  | Ukrtransgaz | UA |  | > | 21Z000000000306V | Transgaz | RO | TBP | 0 | 0 | 0 | -
222 |  | Kipi (TR) / Kipi (GR) |  | Botas | TR |  | > | 21Z000000000233W | DESFA | GR | Greece | 61.19 | 11.29 | 11.29 | - | N
223 |  | Värska |  | Gazprom | RU |  | > |  | Vörguteenus | EE | Estonia | 41 | 11.2 | 11.3 | - | N
224 |  | Greifswald |  | Nord Stream | RU |  | > | 21Z000000000255M | Fluxys Deutschland | DE | GASPOOL | 1742 | 0 | 0 | N | -
|  | Greifswald |  | Nord Stream | RU |  | > | 21Z000000000255M | Gasunie Ostseeanbindungsleitung | DE | GASPOOL | 1742 | 0 | 0 | N
|  | Greifswald |  | Nord Stream | RU |  | > |  | LBTG | DE | GASPOOL | 1742 | 0 | 0 | N
|  | Greifswald |  | Nord Stream | RU |  | > | 21Z000000000255M | NEL Gastransport | DE | GASPOOL | 1742 | 0 | 0 | N
|  | Greifswald |  | Nord Stream | RU |  | > | 21Z000000000241X | OPAL Gastransport | DE | GASPOOL | 1742 | 0 | 0 | N
|  | Greifswald |  | Nord Stream | RU |  | > |  | OPAL Gastransport | DE | GASPOOL | 1742 | 0 | 0 | N
225 |  | Narva |  | Gazprom | RU |  | > |  | Vörguteenus | EE | Estonia | 5 | 11.2 | 11.2 | - | N
LNG Entry IP
300 |  | Zeebrugge LNG |  | Fluxys LNG | BE |  | > | 21Z0000000000082 | Fluxys Belgium | BE | H-Zone | 461.04 | 11.63 | 11.63 | Y
301 |  | Teesside |  | Dockside regasification | UK |  | > | 21YTE-EC-------P | National Grid Gas | UK | UK | 127 | 11 | 11 | N
302 |  | Isle of Grain |  | Grain LNG | UK |  | > | 21YIG-EC-------X | National Grid Gas | UK | UK | 650 | 11 | 11 | N
303 |  | Milford Haven (Dragon LNG) |  | Dragon LNG | UK |  | > | 21Y---A001A011-7 | National Grid Gas | UK | UK | 300 | 11 | 11 | N
|  | Milford Haven (South Hook) |  | South Hook | UK |  | > |  | National Grid Gas | UK | UK | 650 | 11 | 11 | N
304 |  | Montoir de Bretagne |  | Elengy | FR |  | > | 21Z000000000029V | GRTgaz | FR | North | 370 | 11.6 | 11.6 | N
305 |  | Fos (Tonkin/Cavaou) |  | Elengy | FR |  | > | 21Y---A001A006-X | GRTgaz | FR | South | 410 | 11.6 | 11.6 | N
|  | Fos (Tonkin/Cavaou) |  | Faster | FR |  | > | 21Y---A001A006-X | GRTgaz | FR | South | 410 | 11.6 | 11.6 | N
|  | Fos (Tonkin/Cavaou) |  | Fosmax LNG | FR |  | > | 21Y---A001A006-X | GRTgaz | FR | South | 410 | 11.6 | 11.6 | N
306 |  | Panigaglia |  | GNL Italia | IT |  | > | 21Z0000000000430 | Snam Rete Gas | IT | Italy | 128.9 | 11.3 | 11.3 | N
307 |  | Cavarzere (Porto Levante / Adriatic LNG) |  | Terminale GNL Adriatico | IT |  | > | 21Z000000000142Z | Infrastrutture Trasporto Gas | IT | Italy | 290.4 | 10.9983 | 10.9983 | N
|  | Cavarzere (Porto Levante / Adriatic LNG) |  | Terminale GNL Adriatico | IT |  | > | 21Z000000000142Z | Snam Rete Gas | IT | Italy | 290.4 | 10.9983 | 11 | N
308 |  | Revythoussa |  | DESFA | GR |  | > | 21Z0000000000422 | DESFA | GR | Greece | 150.0056 | 12.03 | 12.03 | - | N
309 |  | Barcelona |  | Enagás | ES |  | > | 21Z000000000063V | Enagás | ES | Spain | 544.28 | 11.63 | 11.63 | - | N
310 |  | Sagunto |  | Saggas | ES |  | > | 21Z000000000129R | Enagás | ES | Spain | 279.12 | 11.62 | 11.63 | N
311 |  | Cartagena |  | Enagás | ES |  | > | 21Z000000000064T | Enagás | ES | Spain | 376.81 | 11.63 | 11.63 | - | N
312 |  | Huelva |  | Enagás | ES |  | > | 21Z000000000065R | Enagás | ES | Spain | 376.81 | 11.63 | 11.63 | - | N
313 |  | Mugardos |  | Reganosa | ES |  | > | 21Z000000000126X | Enagás | ES | Spain | 115.2 | 11.63 | 11.63 | N
314 |  | Bilbao |  | BBG | ES |  | > | 21Z0000000001402 | Enagás | ES | Spain | 223.296 | 11.63 | 11.63 | N
315 |  | Sines |  | REN Atlantico | PT |  | > | 21Z0000000001313 | REN - Gasodutos | PT | Portugal | 217.1 | 11.9 | 11.9 | Y
316 |  | Gate Terminal (I) |  | Gate Terminal | NL |  | > | 21W0000000000079 | Gasunie Transport Services | NL | Netherlands | 407.6407 | 0 | 0 | N
317 |  | OLT LNG / Livorno |  | OLT Offshore LNG Toscana S.p.A | IT |  | > | 21Z000000000275G | Snam Rete Gas | IT | Italy | 171.4 | 11.4 | 11.4 | N
318 |  | Musel |  | Enagás | ES |  | > | 21Z0000000002123 | Enagás | ES | Spain | 0 | 0 | 0 | -
Trading Point
400 | V | NPTF |  |  | DK | Denmark | > |  | Energinet.dk | DK | Denmark | 0 | 0 | 0 | -
| V | NPTF |  | Energinet.dk | DK | Denmark | > |  |  | DK | Denmark | 0 | 0 | 0 | -
401 | V | GTF (Bilateral Trading Point) |  |  | DK | Denmark | > |  | Energinet.dk | DK | Denmark | 0 | 0 | 0 | -
| V | GTF (Bilateral Trading Point) |  | Energinet.dk | DK | Denmark | > |  |  | DK | Denmark | 0 | 0 | 0 | -
402 | V | TTF |  |  | NL | Netherlands | > |  | Gasunie Transport Services | NL | Netherlands | 0 | 0 | 0 | -
| V | TTF |  | Gasunie Transport Services | NL | Netherlands | > |  |  | NL | Netherlands | 0 | 0 | 0 | -
403 | V | VHP GASPOOL |  |  | DE | GASPOOL | > |  | Fluxys Deutschland | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  |  | DE | GASPOOL | > | 37Y700100MH0001B | GASCADE Gastransport | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  |  | DE | GASPOOL | > |  | Gastransport Nord | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  |  | DE | GASPOOL | > | 21X000000001014U | Gasunie Deutschland Transport Services | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  |  | DE | GASPOOL | > | 21X000000001014U | Gasunie Ostseeanbindungsleitung | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  |  | DE | GASPOOL | > | 21X000000001014U | jordgas Transport | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  |  | DE | GASPOOL | > |  | NEL Gastransport | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  |  | DE | GASPOOL | > | 9870011100003 | Nowega | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  |  | DE | GASPOOL | > |  | ONTRAS | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  |  | DE | GASPOOL | > |  | OPAL Gastransport | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  | Fluxys Deutschland | DE | GASPOOL | > |  |  | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL | 37Y700100MH0001B | GASCADE Gastransport | DE | GASPOOL | > |  |  | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  | Gastransport Nord | DE | GASPOOL | > |  |  | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL | 21X000000001014U | Gasunie Deutschland Transport Services | DE | GASPOOL | > |  |  | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL | 21X000000001014U | Gasunie Ostseeanbindungsleitung | DE | GASPOOL | > |  |  | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL | 21X000000001014U | jordgas Transport | DE | GASPOOL | > |  |  | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  | NEL Gastransport | DE | GASPOOL | > |  |  | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL | 9870011100003 | Nowega | DE | GASPOOL | > |  |  | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  | ONTRAS | DE | GASPOOL | > |  |  | DE | GASPOOL | 0 | 0 | 0 | -
| V | VHP GASPOOL |  | OPAL Gastransport | DE | GASPOOL | > |  |  | DE | GASPOOL | 0 | 0 | 0 | -
404 | V | VHP NetConnectGermany |  |  | DE | NCG | > |  | bayernets | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany |  |  | DE | NCG | > |  | Fluxys TENP | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany |  |  | DE | NCG | > |  | GRTgaz Deutschland | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany |  |  | DE | NCG | > | 21X-DE-C-A0A0A-T | Open Grid Europe | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany |  |  | DE | NCG | > |  | terranets bw | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany |  |  | DE | NCG | > |  | Thyssengas | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany |  | bayernets | DE | NCG | > |  |  | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany |  | Fluxys TENP | DE | NCG | > |  |  | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany |  | GRTgaz Deutschland | DE | NCG | > |  |  | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany | 21X-DE-C-A0A0A-T | Open Grid Europe | DE | NCG | > |  |  | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany |  | terranets bw | DE | NCG | > |  |  | DE | NCG | 0 | 0 | 0 | -
| V | VHP NetConnectGermany |  | Thyssengas | DE | NCG | > |  |  | DE | NCG | 0 | 0 | 0 | -
405 | V | Virtuálni obchodni bod Net4gas |  |  | CZ | Czech | > | 21Y---A001A001-B | NET4GAS | CZ | Czech | 0 | 0 | 0 | -
| V | Virtuálni obchodni bod Net4gas | 21Y---A001A001-B | NET4GAS | CZ | Czech | > |  |  | CZ | Czech | 0 | 0 | 0 | -
406 | V | NBP |  |  | UK | UK | > |  | National Grid Gas | UK | UK | 0 | 0 | 0 | -
| V | NBP |  | National Grid Gas | UK | UK | > |  |  | UK | UK | 0 | 0 | 0 | -
407 | V | IBP |  |  | IE | Ireland | > | 21Y---A001A009-O | Gaslink | IE | Ireland | 0 | 0 | 0 | -
| V | IBP | 21Y---A001A009-O | Gaslink | IE | Ireland | > |  |  | IE | Ireland | 0 | 0 | 0 | -
408 | V | PEG NORD |  |  | FR | North | > | 21YPNT-EX-GAS-NT | GRTgaz | FR | North | 0 | 0 | 0 | -
| V | PEG NORD | 21YPNT-EX-GAS-NT | GRTgaz | FR | North | > |  |  | FR | North | 0 | 0 | 0 | -
409 | V | PEG SUD |  |  | FR | South | > | 21YPNT-EX-GAS-SJ | GRTgaz | FR | South | 0 | 0 | 0 | -
| V | PEG SUD | 21YPNT-EX-GAS-SJ | GRTgaz | FR | South | > |  |  | FR | South | 0 | 0 | 0 | -
410 | V | PEG TIGF |  |  | FR | TIGF | > |  | TIGF | FR | TIGF | 0 | 0 | 0 | -
| V | PEG TIGF |  | TIGF | FR | TIGF | > |  |  | FR | TIGF | 0 | 0 | 0 | -
411 | V | PSV |  |  | IT | Italy | > | 21Y---A001A010-A | Snam Rete Gas | IT | Italy | 0 | 0 | 0 | -
| V | PSV | 21Y---A001A010-A | Snam Rete Gas | IT | Italy | > |  |  | IT | Italy | 0 | 0 | 0 | -
412 | V | MS-ATR |  |  | ES | Spain | > | 21Y---A001A005-T | Enagás | ES | Spain | 0 | 0 | 0 | -
| V | MS-ATR | 21Y---A001A005-T | Enagás | ES | Spain | > |  |  | ES | Spain | 0 | 0 | 0 | -
413 | V | MGP |  |  | HU | Hungary | > | 39WSINBP000000N5 | FGSZ | HU | Hungary | 0 | 0 | 0 | -
| V | MGP | 39WSINBP000000N5 | FGSZ | HU | Hungary | > |  |  | HU | Hungary | 0 | 0 | 0 | -
414 | V | CEGH |  |  | AT | Austria | > |  | BOG | AT | Austria | 0 | 0 | 0 | -
| V | CEGH |  |  | AT | Austria | > |  | Gas Connect Austria | AT | Austria | 0 | 0 | 0 | -
| V | CEGH |  |  | AT | Austria | > |  | TAG | AT | Austria | 0 | 0 | 0 | -
| V | CEGH |  | BOG | AT | Austria | > |  |  | AT | Austria | 0 | 0 | 0 | -
| V | CEGH |  | Gas Connect Austria | AT | Austria | > |  |  | AT | Austria | 0 | 0 | 0 | -
| V | CEGH |  | TAG | AT | Austria | > |  |  | AT | Austria | 0 | 0 | 0 | -
415 | V | Zeebrugge Trading Point H-Zone |  |  | BE | H-Zone | > | 21Z000000000248J | Fluxys Belgium | BE | H-Zone | 0 | 0 | 0 | -
| V | Zeebrugge Trading Point H-Zone | 21Z000000000248J | Fluxys Belgium | BE | H-Zone | > |  |  | BE | H-Zone | 0 | 0 | 0 | -
417 | V | VTP - GAZ-SYSTEM |  |  | PL | Poland | > |  | GAZ-SYSTEM | PL | Poland | 0 | 0 | 0 | -
| V | VTP - GAZ-SYSTEM |  | GAZ-SYSTEM | PL | Poland | > |  |  | PL | Poland | 0 | 0 | 0 | -
418 | V | Zeebrugge Beach |  |  | BE | H-Zone | > | 21Z0000000000090 | Fluxys Belgium | BE | H-Zone | 0 | 0 | 0 | - | N
| V | Zeebrugge Beach | 21Z0000000000090 | Fluxys Belgium | BE | H-Zone | > |  |  | BE | H-Zone | 0 | 0 | 0 | N | -
Note on S13: ENTSOG: Available flow direction for each TSO (System Operator 1, System Operator 2) B : TSO can offer firm capacity in both directions Y : TSO offers firm capacity in one direction, and virtual backhaul capacity in the other N : TSO offers firm capacity in one direction